## Slide 1
CRYSTALLIZATION PLATES DATA ACQUISITION IN MXCUBE
Jeremy SINOIR – EMBL Grenoble
Antonia BETEVA - ESRF

## Slide 2: Crystallization plates data acquisition in mxcube
PLATE GRIPPER
Put in place of the goniometer head on the EMBL Micro Diffractometer(s)
      Compatible with MD2-S and MD3 (and soon MD3-UP)
      Allows data collection directly from crystallization plates at RT
      Compatible with CrystalDirect, Mitegen inSitu-1 and Crystal Quick X
Designed by EMBL Grenoble, commercialized by MAATEL
Integrated at ESRF in 2016 (ID30B) : EMBL/ESRF Collaboration

## Slide 3: Crystallization plates data acquisition in mxcube
AlignY
Dedicated Motor : Plate Translation

## Slide 4: Crystallization plates data acquisition in mxcube
MD3 VERSION

## Slide 5: Crystallization plates data acquisition in mxcube
User-assisted homing and interlock definition
Highly constrained environment
Two shooting configurations

## Slide 6: Crystallization plates data acquisition in mxcube
CENTRING METHODS
Goniometer/Minikappa Head
      Manual – 3 click centring
      Semi-automatic – centre with lucid2 and then confirm or refine with manual centring
Plate Gripper
      Manual – 1 click centring, executed as many times as desired
      Semi-automatic – click and focus and then confirm or refine with manual centring

## Slide 7: Crystallization plates data acquisition in mxcube

## Slide 8: Crystallization plates data acquisition in mxcube

## Slide 9: Crystallization plates data acquisition in mxcube

## Slide 10: Crystallization plates data acquisition in mxcube

## Slide 11: Crystallization plates data acquisition in mxcube

## Slide 12: Crystallization plates data acquisition in mxcube

## Slide 13: Crystallization plates data acquisition in mxcube

## Slide 14: Crystallization plates data acquisition in mxcube

## Slide 15: Crystallization plates data acquisition in mxcube

## Slide 16: Crystallization plates data acquisition in mxcube

## Slide 17: Crystallization plates data acquisition in mxcube

## Slide 18: Crystallization plates data acquisition in mxcube
      Omega rotation limitations

## Slide 19: Crystallization plates data acquisition in mxcube
      Image
      Repositionning :

## Slide 20: Crystallization plates data acquisition in mxcube

## Slide 21: Crystallization plates data acquisition in mxcube
Adaptation of the EMBL Hamburg Implementation
Sample changer look and behave like
      Specific hardware object – PlateManipulator.
      Load is actually moving to a drop. No unload
      Changes in TreeBrick and in queue (slightly different representation, no automatic centring, no specific detailed brick).
Goniometer head and not a sample changer
      Handled by AbstractDiffractometer and Microdiff hardware objects.
      Separate role in BeamlineSetup
Centring
      1 click centring, as many times as desired – HutchMenuBrick.
      Use different motors – MicrodiffFocusMotor, PlateTranslation